## Bill of Materials
⚙ CENTRIFUGE BUILD — BILL OF MATERIALS
Part / Component | Notes / Specifications | Qty / Kit | Unit Price | Purchase Qty | Line Total | Purchase Link
🪵 CASE / STRUCTURAL
4′ × 8′ Plywood (3/4") | 3/4" sanded pine — On Hand | 2 | 0 | 1 | 0 | ✅ On Hand
Bowl Construction Wood | 1×12 pine, ~1 ft × 4 ft × 1 in, custom-cut bowl form — On Hand | 1 | 0 | 1 | 0 | ✅ On Hand
16" × 48" Acrylic Sheet | 3mm clear cast, laser-cuttable | 1 | 22.99 | 1 | 22.99 | 🔗 View Product
Pocket Screws | #8 × 1-1/4", Kreg-style | 100 | 11.97 | 1 | 11.97 | 🔗 View Product
Corner Braces (8-pack) | 1" zinc-plated steel L-bracket, ~$1 each | 1 | 1 | 8 | 8 | 🔗 View Product
PLA 3D Filament (1kg) | 1.75mm PLA, ±0.02mm tolerance | 1 | 15.99 | 1 | 15.99 | 🔗 View Product
Misc / Fasteners Budget | Standoffs, nuts, bolts, zip ties | 1 | 25 | 1 | 25 | —
⚡ ELECTRONICS / CIRCUIT
24V DC Gear Motor | 12V-24V DC, 100 RPM, ~3A | 1 | 8.99 | 2 | 17.98 | 🔗 View Product
DRV8871 Motor Driver | 3.6A peak, PWM control | 1 | 6.49 | 1 | 6.49 | 🔗 View Product
24V DC Power Supply | 24V 5A, 120W, switching PSU | 1 | 18.99 | 1 | 18.99 | 🔗 View Product
Arduino Nano (V3.0) | ATmega328P, CH340 chip, USB-C compatible | 1 | 5.99 | 1 | 5.99 | 🔗 View Product
LM2596 Voltage Regulator | Buck, adj. 1.25–37V, 3A, module | 1 | 2.99 | 1 | 2.99 | 🔗 View Product
10kΩ Potentiometer | Alps RK163, through-hole | 10 | 8.5 | 1 | 8.5 | 🔗 View Product
Capacitor Assortment Kit | 100-piece, 1µF–1000µF elect. — On Hand | 1 | 0 | 1 | 0 | ✅ On Hand
Resistor Assortment Kit | 600-piece, 10Ω–1MΩ, 1/4W — On Hand | 1 | 0 | 1 | 0 | ✅ On Hand
22 AWG Wire (5 ft) | Stranded tinned copper, UL — On Hand | 1 | 0 | 1 | 0 | ✅ On Hand
18 AWG Wire (5 ft) | Stranded, red/black pair — On Hand | 1 | 0 | 1 | 0 | ✅ On Hand
TOTAL BUILD COST |  |  |  |  | 144.89